## Sheet1
Appendix | “A” | to | Report | PW25006 |  | Hardik Shrestha - Swim Guide Data Assistant
Page | 13 | of | 101
Notification | Adverse | Water | Quality
Location | Resolution
Date | (y-m-d) | Incident
Total | Chlorine | = | 0.12 | mg/L
Free | Chlorine | = | 0.02 | mg/L
Post | Hydrant
Combined | Chlorine | =
SB01H090P,
0.1 | mg/L
195 | The | watermain | was
2024-05-27 | (Regulatory | requirement | is
Constellation | flushed | to | restore | chlorine.
minimum | Combined
Dr.
Chlorine | of | 0.25 | mg/L | or
Free | Chlorine | of | 0.05
mg/L)
Resampled | adverse
Total | Coliforms | = | Present | location, | one | upstream
D-SS-09, | 51
2024-06-19 | (Regulatory | requirement | is | and | one | downstream
Robinhood | Dr.
Not | Detectable) | location. | All | results
passed.
7-15, | Pumping | Resampled | adverse
Station | Total | Coliforms | = | Present | location, | one | upstream
2024-06-25 | HD007, | (Regulatory | requirement | is | and | one | downstream
293 | Highland | Not | Detectable) | location. | All | results
Rd. | W. | passed.
Total | Chlorine | = | 0.13 | mg/L
Free | Chlorine | = | 0.02 | mg/L
Combined | Chlorine | =
H-SS-37, | 0.11 | mg/L
The | watermain | was
2024-07-23 | Opposite | 54 | (Regulatory | requirement | is
flushed | to | restore | chlorine.
Mars | Ave. | minimum | Combined
Chlorine | of | 0.25 | mg/L | or
Free | Chlorine | of | 0.05
mg/L)
Resampled | adverse
H-SS-32, | 363 | Total | Coliforms | = | Present | location, | one | upstream
2024-07-26 | Wellington | St. | (Regulatory | requirement | is | and | one | downstream
N. | Not | Detectable) | location. | All | results
passed.
Drinking | Water | Systems | Annual | Water | Quality | and | Summary | Report | ¦ | 13